## Table 1
RECEPTACLE TESTS (Patient Care Areas) - Facility:
TESTER NAME: Employed by: Test Date: Page 1 Receptacles in patient care areas (normal & emergency powered) must be testing after initial installation, replacement, or service, per
NFPA 99-1999 ed, §3-3.3 and 3-3.4 and at intervals definded by the facility based on documented performance data (with non-hospital grade tested at least annually, per NFPA 99-1999 ed, §3-3.4.2.3
Instructions: number the receptacles (1, 2…) starting at the left side of the entry door and proceed clockwise around the room, top to bottom; Duplex=2 outlets
a. Visually inspect the device and cover that they are intact and in good condition.
b. Use a receptacle tester and verify continuity of the ground and polarity
c. Use a ground blade tension tester and verify tension is above 4 oz.
ROOM # | ROOM NAME | DEVICE # | Physical Condition Pass/Fail | Ground Continuity Pass/Fail | Polarity Check Pass/Fail | Ground Retention > 4 oz Pass/Fail | If Fail-Corrective Action
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
RECEPTACLE TESTS (Patient Care Areas) - Facility:
TESTER NAME: |  |  | Employed by: |  |  | Test Date: | Page
ROOM # | ROOM NAME | DEVICE # | Physical Condition Pass/Fail | Ground Continuity Pass/Fail | Polarity Check Pass/Fail | Ground Retention > 4 oz Pass/Fail | If Fail-Corrective Action
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19