## Utilities
NFPA 99-2012 Utility Risk Assessment | [20 empty] | Page:
Facility: |  |  | Enter Risk Category 1-4
Date: |  |  | Med Gas | [5 empty] | Electric | [8 empty] | HVAC
Rooms that have the same utilities and same Risk Category may be grouped together and entered as a lot on a single line |  | Risk Assessment Categories (based on harm to patients due to loss of utility) 1=Death/Serious Injury 2=Minor Injury 3=Discomfort 4=No Harm/Non-Patient x=Utility Not in Space | Oxygen | Nitrous Oxide | Medical Air | Non-Medical Compressed Air | Vacuum | WAGD | Normal Power Lighting | Normal Power Outlets | Normal Power Dir Feed | Normal Power Elec Heat | Emerg Power Lighting | Emerg Power Outlets | Emerg Power Dir Feed | Battery Lighting | Isolated Power Sys | Hydronic Heating Sys | Steam Heating Sys | Condensate Sys | Air Handling Units | Exhaust Fans | Air Conditioner, Split | Air-Conditioning, Central
Room # | Room Name | Space within Room | Chapter 5 | [5 empty] | Chapter 6 | [8 empty] | Chapter 9
copyright Lauzon Life Safety Consulting, Aug 2017

## Equipment
NFPA 99-2012 Equipment Risk Assessment
Facility: |  |  | Enter Risk Category 1-4
Date: |  |  | Electrical |  |  |  | Med Gas
Similar equipment that have the same Risk Category may be grouped together and entered as a lot on a single line |  | Risk Assessment Categories (based on harm to patients due to loss of utility) 1=Death or Serious Injury 2=Minor Injury 3=Discomfort 4=No Harm/Non-Patient | Fixed Equipment | Portable Equipment | Non-Pt Equip* | Laboratory | Oxygen | Nitrous Oxide | Medical Air | Vacuum | WAGD
Equip ID | Equipment Name | Location Normally Stored | Chapter 10 |  |  |  | Chapter 11
copyright Lauzon Life Safety Consulting, Aug 2017